## Slide 1
-QA & QC Person
-Glassware error
-Dilution error
-Weighing error
-Sampling error
-Analyst
Men
-Weighing balance
-oH meter
-Sonicator
Machines
HPLC
Flow rate
Pump
Speed
Pressure
Degasser
Column oven
-Percent recovery
-Area calculation
-Sampling speed
-Purity Percentage
-Impurity level
-Sampling rate
Measurement
Separation mode
Methods
Isocratic
Flow type
Gradient
Flow rate
Stationary phase
Reverse phase
Normal phase
Mobile
phase
Type
Strength
Buffer
pH
Aq. phase
Org.
phase
Solvent type
Material
Type
Column
Dimension
-Functional group
Silica
-Mode of packing
-Particle size
Material
-Temperature
-Pressure
-Humidity
-Moisture
-Light
Method
Efficiency