-QA & QC Person

-Glassware error

-Dilution error

-Weighing error

-Sampling error

-Analyst

Men

-Weighing balance

-oH meter

-Sonicator

Machines

HPLC

Flow rate

Pump

Speed

Pressure

Degasser

Column oven

-Percent recovery

-Area calculation

-Sampling speed

-Purity Percentage

-Impurity level

-Sampling rate

Measurement

Separation mode

Methods

Isocratic

Flow type

Gradient

Flow rate

Stationary phase

Reverse phase

Normal phase

Mobile

phase

Type

Strength

Buffer

pH

Aq. phase

Org.

phase

Solvent type

Material

Type

Column

Dimension

-Functional group

Silica

-Mode of packing

-Particle size

Material

-Temperature

-Pressure

-Humidity

-Moisture

-Light

Method

Efficiency